## BoQ
LOT 3- Borehole drilling and equipping with hand pump, supply of maintenance tools and spare parts
Borehole drilling and equipping with hand pump
A | Description | UoM | Qty | Rate | Total Price (NGN) 5% tax included
1 | Geophysical investigation (Integrated) in basement terrain | No. | 1 | 0 | 0
2 | Report presentation | No. | 2 | 0 | 0
| Sub-Total |  |  |  | 0
B | Borehole drilling, Casing, development and Water quality test
1 | Project visibility i. Metallic billboard 2.4m x 1.2m billboard standing 2m high.
2 | Geophysical | Ls | 1 | 0 | 0
3 | Drilling to a depth between 0m-100m via air method drilling (the depth depends on Geophysical report) | Meter | 100 | 0 | 0
4 | Supply and installation of 5' blind casing 3 metre length. Casing to be 10 bar minimum | Meter | 80 | 0 | 0
5 | Supply and installation of 5' screen casing 10 bar | Meter | 20 | 0 | 0
6 | Gravel packing with about 3.0 - 5.0 mm grain size gravel. 35 kg bags | Bag | 35 | 0 | 0
7 | Cement grouting (Mixture of cement and sand to a depth of 3m from the ground surface | LS | 1 | 0 | 0
8 | Borehole flushing and development for 4 hours minimum | Hrs | 4 | 0 | 0
9 | Pump/Aquifer testing for 6 hours continuous step pumping | No. | 1 | 0 | 0
10 | Borehole disinfection with 1% chlorine and flush out till the water free residual chlorine is 0.5mg/l | No. | 1 | 0 | 0
11 | Mobilization and demobilization of drilling equipment to site and provide detailed borehole report | LS | 1 | 0 | 0
12 | Intersite mobilisation and demobilisation of equipment and personnel | LS | 5 | 0 | 0
13 | Water quality test bacteriological and chemical test (based on WHO standard), the test will be carry out in two different government approved Laboratory (2 copies of Report will be submitted) | LS | 1 | 0 | 0
| Subtotal |  |  |  | 0
C | Construction of apron, drainage, soak pit, Installation of the hand pump III
1 | Cement for apron/platform and drainage construction | Bag | 10 | 0 | 0
2 | Sand for apron/platform and drainage construction | Tonne | 14 | 0 | 0
3 | Gravel of about 3.0 - 5.0 mm grain size for apron/platform and drainage construction | Tonne | 10 | 0 | 0
4 | Reinforcement to be used for water point structure construction as per drawing using 10mm iron rods conforming to british reinforcement company standard | LS | 1 | 0 | 0
5 | Supply set of complete India Mark III handpump inclusive of pedestal, complete head with handle, 2 1/2" PVC drop pipes, India Mark III pump. Pump installation level will be tentatively set at 50m but may vary according to borehole yield and depth. | Set | 1 | 0 | 0
6 | Labour for installation of hand pump. | LS | 1 | 0 | 0
7 | Construct 1.2mx1.2m x1.5m soak pit with slab reinforced with 12mm iron rods conforming to BRC standards | LS | 1 | 0 | 0
8 | Masonry for construction of soakpit using ratio 1:6 for mortar for binding the blocks | m2 | 7.2 | 0 | 0
9 | 100mm thick slab for soakpit cover with reinforced concrete with 12mm iron rods conforming to BRC standards | m3 | 0.144 | 0 | 0
10 | Labour for construction of apron and drainage (round apron). Note that the water point will be smooth trowel finished all round. | L/S | 1 | 0 | 0
0
| Total Construction of apron, drainage, soak pit, Installation of the hand pump III and tools |  |  |  | 0
BOQ FOR WATER FACILITY SPARE PARTS AND MAINTENANCE TOOLS
A | WASH COMMITTEE MAINTENANCE TOOLS
SN | Items Description | Unit | Qty | Rate | Amount (Naira)
1 | 900mm(36”) pipe wrench | pcs | 4 | 0 | 0
2 | 600mm(24”)pipe wrench | pcs | 4 | 0 | 0
3 | 450mm(18”) pipe wrench | pcs | 2 | 0 | 0
4 | Die set | pcs | 1 | 0 | 0
5 | Clamp (vice) | pcs | 1 | 0 | 0
6 | Digital multimeter (Fluke 87v Multimeter) | pcs | 1 | 0 | 0
7 | Hacksaw (12" long with 14-32 teeth/inch) with Extra five blades | pcs | 1 | 0 | 0
8 | Flat nose screw driver | pcs | 1 | 0 | 0
9 | Star Screw driver | pcs | 2 | 0 | 0
10 | Club hammer | pcs | 1 | 0 | 0
11 | Claw Hammer | pcs | 1 | 0 | 0
12 | Wire Brush | pcs | 1 | 0 | 0
13 | Combination Plier | pcs | 1 | 0 | 0
14 | Long nose Plier | pcs | 1 | 0 | 0
15 | Tool box with locking arrangement made from 24 G | pcs | 1 | 0 | 0
| Sub-Total |  |  |  | 0
B India Mark III maintenance and repair kit (Water committee tools)
1 | Grease Multi purpose 450 grams– for greasing chain assembly and bearing | Pc | 1 | 0 | 0
2 | Grease pump for india mark III | Pc | 1 | 0 | 0
3 | Hexagonal bolt for pump head and water tank - M12 x 40 mm | Pc | 2 | 0 | 0
4 | Hexagonal bolt for inspection cover - M12 x 20 mm | Pc | 2 | 0 | 0
5 | Hexagonal bolt for chain assembly – M10 x 40 mm | Pc | 2 | 0 | 0
6 | Hexagonal lock nut for chain assembly – M10 (“Nyloc”) | Pc | 2 | 0 | 0
7 | Pump rod vice assembly | Pc | 1 | 0 | 0
8 | Connecting tool assembly for connecting pipe rods | Pc | 1 | 0 | 0
9 | Bearing mounting assembly | Pc | 1 | 0 | 0
10 | Axle punch | Pc | 1 | 0 | 0
11 | Open ended spanner size 16-17 | Pc | 2 | 0 | 0
12 | Open ended spanner size 18-19 | Pc | 2 | 0 | 0
13 | India mark III Chain | Pc | 2 | 0 | 0
14 | India Mark II bearings | Pc | 2 | 0 | 0
15 | Metal box with locking mechanism that will content all the above maintenance kit | Pc | 1 | 0 | 0
| Sub-Total |  |  |  | 0
C | Water facility spare parts
1 | Supply of grundfos SP5A-44, 5.5 HP AC motor submersible pump with splicing kit | Set | 1 | 0 | 0
2 | Supply of grundfos 2 HP AC motor submersible pump with splicing kit | Set | 1 | 0 | 0
3 | Supply of Grundfos SQ Flex 2.5-2 submersible pump with splicing kit | Pcs | 1 | 0 | 0
4 | Dry running sensor kit | Pcs | 1 | 0 | 0
5 | Flexible cable, 4mm insulated flexible cable, pure copper 3 core 100m per roll. | Roll | 1 | 0 | 0
6 | Flexible cable, 2.5mm insulated flexible cable, pure copper 2 core 100m per roll. | Roll | 1 | 0 | 0
7 | Solar panel moncrystalline 100 watts with aluminium frame | Pcs | 1 | 0 | 0
8 | Solar panel monocrystalline 120 watts with aluminium frame | Pcs | 1 | 0 | 0
9 | Solar panel monocrystalline 200 watts with aluminium frame | Pcs | 1 | 0 | 0
10 | Solar panel monocrystalline 250 watts with aluminium frame | Pcs | 1 | 0 | 0
11 | Solar panel Polycrystalline 100 watts with aluminium frame | Pcs | 1 | 0 | 0
12 | Solar panel Polycrystalline 120 watts with aluminium frame | Pcs | 1 | 0 | 0
13 | Solar panel Polycrystalline 200 watts with aluminium frame | Pcs | 1 | 0 | 0
14 | Solar panel Polycrystalline 250 watts with aluminium frame | Pcs | 1 | 0 | 0
15 | Universal inverter 500watts Dc 24v to Ac 220v | Set | 1 | 0 | 0
16 | Universal inverter 1000watts Dc 24v to Ac 220v | Set | 1 | 0 | 0
17 | Hybrid Inverter 4 kw | Set | 1 | 0 | 0
18 | Hybrid Inverter 5.5kw | Set | 1 | 0 | 0
19 | Hybrid Inverter 7.k kva | Set | 1 | 0 | 0
20 | Battery charge control | pcs | 1 | 0 | 0
21 | 12 volt solar Battery dry cell | pcs | 1 | 0 | 0
22 | Chlorine Granule 75% | Drum | 1 | 0 | 0
23 | Chlorine Granule 65% | Drum |  | 0 | 0
24 | Chlorine dosing pump | Pcs | 1 | 0 | 0
25 | Supply set of complete India Mark III handpump inclusive of pedestal, complete head with handle, 2 1/2" PVC drop pipes 30m, India Mark III pump. | Set | 1 | 0 | 0
26 | Hand pump india mark III head | Pcs | 1 | 0 | 0
27 | Complete india mark III cylinder | Set | 1 | 0 | 0
28 | Hand pump Bearing | pcs | 1 | 0 | 0
29 | Water Seal hand pump (handpump bucket) | pcs | 1 | 0 | 0
30 | Hand pump chain for india mark III | pcs | 1 | 0 | 0
31 | Hand pump Indian mark III upper valve brass | pcs | 1 | 0 | 0
32 | Set Hand pump Indian mark II valve brass | Pcs | 1 | 0 | 0
33 | Spanner combination 17" | Pcs | 1 | 0 | 0
34 | Spanner combination 18" | Pcs | 1 | 0 | 0
35 | Spanner combination 19" | Pcs | 1 | 0 | 0
36 | Engine oil 4 litres, 20w50_1000 Lubricants products are a range of quality premium mineral motor oils designed to provide a high level of performance. | pcs | 1 | 0 | 0
37 | 1¼'' Nipple PVC | pcs | 1 | 0 | 0
38 | 12v/24v Solar battery Charge controller | pcs | 1 | 0 | 0
39 | Switch control box | pcs | 1 | 0 | 0
40 | Adjutable clip 1'' made of steel | pcs | 1 | 0 | 0
41 | 1¼'' Socket made of steel | pcs | 1 | 0 | 0
42 | Automotive Gas oil _Diesel | pcs | 1 | 0 | 0
43 | Empty drum 200 litres made of PVC, that will be used to supply the Diesel | pcs | 1 | 0 | 0
44 | 4000 liters PVC Tank | pcs | 1 | 0 | 0
45 | Automatic Chlorinator (by swimline economy in-line above ground poolautomatic chlorine feeder) with all accessoroes | Set | 1 | 0 | 0
46 | Hose ¼" multi purpose use_30 m per roll | pcs | 1 | 0 | 0
47 | Bushing 37mm×19mm GI | pcs | 1 | 0 | 0
48 | 37mm×19mm TEE GI | pcs | 1 | 0 | 0
49 | 37mm×19mm elbow GI | pcs | 1 | 0 | 0
50 | 37mm×25mm elbow GI | pcs | 1 | 0 | 0
51 | 25mm stop cork GI | pcs | 1 | 0 | 0
52 | PVC gum or similar, 250ml | pcs | 1 | 0 | 0
53 | 25mm Heavy duty brass tap head-England made or similar | pcs | 1 | 0 | 0
54 | 19mm Heavy duty brass tap head-England made or similar | pcs | 1 | 0 | 0
55 | 3/4" flexible clear hose pipe | pcs | 1 | 0 | 0
56 | Grease Multi purpose – for greasing chain assembly | pcs | 1 | 0 | 0
57 | Hexagonal bolt for pump head and water tank - M12 x 40 mm | pcs | 1 | 0 | 0
58 | Hexagonal bolt for inspection cover - M12 x 20 mm | pcs | 1 | 0 | 0
59 | Hexagonal bolt for chain assembly – M10 x 40 mm | pcs | 1 | 0 | 0
60 | Hexagonal lock nut for chain assembly – M10 (“Nyloc”) | pcs | 1 | 0 | 0
61 | Riser Pipe PVC with stainless steel sockets | pcs | 1 | 0 | 0
62 | Complete cylinder assembly 2 1/2" | pcs | 1 | 0 | 0
63 | 5ml plastic syringe | pcs | 1 | 0 | 0
64 | 1 ¼" Galvanised riser pipe, 6m long | pcs | 1 | 0 | 0
65 | 1 1/2" Galvanised riser pipe, 6m long | pcs | 1 | 0 | 0
| Sub total |  |  |  | 0
| Grand Total |  |  |  | 0