INVITATION TO TENDER

Afghanistan

03 June 2026

ITT-AFG-JWZ-2026- PR713510

Construction/ Rehabilitation of 8 Waterpoints at Jawzjan Province

SUBMISSION DEADLINE: 08:00 am - 04:30 PM ON 14/June/2026

PRE-SUBMISSION CLARIFICATION MEETING: Not Applicable

QUESTIONS / CLARIFICATIONS: AFG.Tenders@savethechildren.org

FORMAT FOR SUBMISSION : BIDDER RESPONSE DOCUMENT

PART 1 : INVITATION TO TENDER

  - Introduction to SCI

  - Project Overview and Requirements

  - Award Criteria

  - Instructions & Key Information

PART 2 : CORE REQUIREMENTS AND SPECIFICATION

Detailed description of SCI’s specific requirements (e.g. volumes, delivery dates / locations, product specifications etc).

PART 3 : BIDDER RESPONSE DOCUMENT

Template to be used to submit response to this Invitation to Tender.

# PART 1 – INVITATION TO TENDER

## INTRODUCTION TO SAVE THE CHILDREN

SCI is the world’s leading independent organisation for children. We save children’s lives; we fight for their rights; we help them fulfil their potential. We work together, with our partners, to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

Our Vision – a world in which every child attains the right to survival, protection, development and participation.

Our Mission – to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

We do this through a range of initiatives and programmes, to:

- Provide lifesaving supplies & emotional support for children caught up in disasters (e.g. floods, famine & wars).

- Campaign for long term change to improve children’s lives.

- Improve children’s access to the food and healthcare they need to survive.

- Secure a good quality education for the children who need it most.

- Protect the world’s most vulnerable children, including those separated from their families because of war, natural disasters, extreme poverty or exploitation.

- Work with families to help them out of the poverty cycle so they can feed and support their children.

For more information on the work we undertake and recent achievements, visit our website.

## PROJECT OVERVIEW

| Item | Description |
| --- | --- |
| Description of Goods / Services | Construction/ Rehabilitation of 8 Waterpoints at Jawzjan Province 6 target locations (Chobash Kalan, Jalal Abad, Nokor Abad, Char Shanba, Yangi Arigh and Shobai) |
| Outcome of Tender | Contract – the successful supplier(s) will be awarded a ‘Contract’ which will commit SCI to purchase the specified quantity of goods / services as defined in the contract at the agreed rates. |
| Duration of Award | 6 Months |

Further detail on the specific requirements of the project (e.g. volumes, dates, specifications etc.) can be found in Part 2 (Core Requirements & Specifications) of this Tender Pack.

## AWARD CRITERA

SCI is committed to running a fair and transparent tender process and ensuring that all bidders are treated and assessed equally during this tender process. Bidder responses will be evaluated against four weighted categories of criteria: Essential Criteria, Capability Criteria, and Commercial Criteria.

### 3.1 ESSENTIAL CRITERIA

Criteria which bidders must meet in order to progress to the next round of evaluation. If a bidder does not meet any of the Essential Criteria, they will be excluded from the tender process immediately. These criteria are scored as ‘Pass’ / ‘Fail’.

3.2 SUSTAINABILITY CRITERIA (10%)

Criteria used to evaluate the impact a supplier has on the environment, local economy and community. Bids will be evaluated against the same pre-agreed Criteria.

### 3.3 CAPABILITY CRITERIA (40%)

Criteria used to evaluate the bidder’s ability, skill and experience in relation to the requirements. Bids will be evaluated against the same pre-agreed Criteria.

### 3.4 COMMERIAL CRITERIA (50%)

Criteria used to evaluate the commercial competitiveness of a bid. Bids will be evaluated against the same pre-agreed Criteria.

## VETTING

Successful bidders must be successfully vetted. This involves checking bidders and key personnel against Global Watch Lists, Enhanced Due Diligence Lists and Politically Exposed Persons Lists.

The vetting of bidders will be completed after the award decision and prior to any contract being signed, or orders placed. If any information provided by the Bidder throughout the tender process is proved to be incorrect during the vetting process (or at any other point), SCI may withdraw their award decision.

## BIDDER INSTRUCTIONS

### 6.1 TIMESCALES

| Activity | Date |
| --- | --- |
| Issue Invitation to Tender | 03 June 2026 |
| Pre-Submission Clarification Meeting | << Not Applicable >> |
| Deadline for questions from Bidders | 8 June 2026 |
| Deadline for Bid Submission | 14 June 2026 |
| Bid Clarifications | 16 June 2026 |
| Award Contact | 28 June 2026 |

The above dates are for indicative purposes only and are subject to change. However, SCI commits to ensure all Bidders receive notification of changes to timescales in a fair and transparent manner.

### 6.2 SUBMISSION FORMAT & BIDDER RESPONSE DOCUMENT

Bidders wishing to submit a bid must use the Bidder Response Document template in Part 3 of this Tender Pack. Any bids received using different formats, or incomplete bids, will not be accepted.

This document allows bidders to submit all the required information and be evaluated fairly and equally against the Essential, Capability and Commercial Criteria. In addition to the Bidder Response Document, bidders may also be required to submit supporting documentation. Instructions on how to do this, and how to complete the Bidder Response Document can be found within the document in Part 3 of this pack.

Bids can be submitted by either:

Electronic Submission via ProSave

- Submit your response in accordance with the guidance provided in the below document:

Paper Submission

- paper copies submitted on headed paper to Save the Children International-Field Office in Jawzjan Province located at - Bander Sar-e-Pull-Back of Transport- in front of Azizi super Market-Sheberghan city-Jawzjan, Afghanistan

- Bids should be submitted in a single sealed envelope addressed to SCI Jawzjan Field Office Supply Chain Department.

- The envelope should clearly indicate the Invitation to tender reference number ITT-AFG-JWZ-2026- PR713510 but contain no other details relating to the bid or the bidder’s name.

- All supporting documentation should be labelled and grouped together (individual envelopes, stapled etc), and then included in a single sealed envelope as per the above.

### 6.4 CLOSING DATE FOR BID SUBMISSION

Your bid must be received, no later than 04:30 PM 14/June/2026.

Bids must remain valid and open for consideration for a period of no less than 60 days.

### 6.5 KEY CONTACTS

All questions relating to the tender should be sent via email to:

| Name | Email Address |
| --- | --- |
| SCI Afghan Tender | AFG.Tenders@savethechildren.org |

Please be advised local working hours are 08:00 AM – 04:30 PM, Sunday - Thursday. Please allow up to Two days for a response.

Where the enquiry may have an impact on other bidders within the process, Save the Children will notify all other Bidders to maintain a fair and transparent process.

# PART 2 – CORE REQUIREMENTS & SPECIFICATIONS

- SPECIFIC REQUIREMENTS

- SPECIFICATIONS

- ADDITIONAL INFORMATION

| No | Description of items for Refreshment and Office Supplies |
| --- | --- |
| 1 | Construction of 10,000 Liter RCC water reservoir with filter system at Chobash Kalan village under AHF-drought response project at Jawzjan province per instruction of SCI site engineer and attached BoQ |
| 2 | Construction of 10,000 Liter RCC water reservoir with filter system at Jalal abad village under AHF-drought response project at Jawzjan province per instruction of SCI site engineer and attached BoQ |
| 3 | Construction of 10,000 Liter RCC water reservoir with filter system at Charshanba village under AHF-drought response project at Jawzjan province per instruction of SCI site engineer and attached BoQ |
| 4 | Construction of 10000 Liter RCC water reservoir with filter system at Nokorabad village under AHF-drought response project at Jawzjan province per instruction of SCI site engineer and attached BoQ |
| 5 | Rehabilitation of solar operated borehole with 10,000 Liter capacity of elevated water tank through water network Pipe schemes per attached BoQ and instruction of SCI site Engineer |
| 6 | Rehabilitation of solar operated borehole with 10000 Liter RCC reservoir including installation of water filter per instruction of SCI site engineer, BoQ is attached |
| 7 | Rehabilitation of existing water pond at Chobash Village (Next to Mosque) with all required activities per attached BoQ and instruction of SCI site engineer |
| 8 | Rehabilitation of existing water pond at Chobash Village (Next to Mokhi House) with all required activites per attached BoQ and instruction of SCI site engineer |

- WAYS OF WORKING

  - Site safety protocol & Security

    - Save the Children expects all suppliers to ensure protection of site, staff and visitors (including community and children) during the time of construction.

    - Suppliers should ensure that premises are made secure with security personnel in place to monitor access and keep a record of visitors accessing the premises.

    - Suppliers should provide appropriate Protective Personnel Equipment for all labourers.

    - Controlled access should be implemented at the site of construction.

    - Save the Children expects the successful supplier to provide latrine facilities for labourers which should be segregated by gender, but this is not mandated.

    - Save the Children expects the successful supplier to provide all appropriate signage required for the project including but not limited to warning of danger, no unauthorised access etc.

  - Staff

    - Depending on the nature of construction project, Save the Children consider the following core roles for the delivery of a successful project. 
     1. Site Agent
     2. Site Foreman
     3. Any other skilled personnel as required for the project e.g. Carpenter, stabilised soil block expert, safety agent.
All proposed staff for core roles should be fully qualified as per the Country requirements e.g. bachelor’s degree in civil engineering, Foremanship certificate etc.

    - Suppliers should provide a full and signed Curriculum Vitae (CV) for the above core roles. The personnel performing core roles must be able to read and interpret all technical documents written in the national speaking language

    - For minor construction projects: Save the Children accept that the Supplier may propose resources that combine the site agent / foremen roles as well as any additional skilled personnel as long as long as training, skills and experience required to complete the work can be demonstrated

  - Site Visits
Constructor should provide evidence as part of supplier response to confirm that they have visited the proposed site and appropriately budgeted and planned for all additional requirements (including time)

  - Workplan

    - Supplier is expected to provide a detailed workplan which includes mobilization and temporary works, e.g., site hoarding, scaffold and signage, inspection dates, milestones for payment and quality processes.

    - Suppliers are encouraged to indicate timelines for quality procedures e.g. curing of concrete

    - Workplans should also include milestones for inspection e.g. steel re-enforcing and form work before casting concrete

    - The work plan should be included in the Bidder Response Document.

    - An example workplan layout is below, suppliers should use a similar format.

| NO | WORK ITEM |  | DURATION (Days) | # MONTH 1 |  |  |  | # MONTH 2 |  |  |  | # MONTH 3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |
| 1 |  | Preliminaries |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Temporary structures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Mobilisation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Sub structures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Superstructure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Roof |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Finishing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Handover / completion date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

  - Method Statement

    - It is expected that suppliers should provide a Method Statement as part of the their response and should as minimum include the following content: 
- Brief description of the works, task or process
- Start and completion dates
- Site contact details including an in an emergency contact
- Summary of known hazards and control measures to mitigate
- Personal protective equipment (PPE) that is mandated for labourers to wear for the duration of the project
- Applicable environmental or quality procedures
- Statement of actions that must be taken to ensure the tasks can be performed safely
- Total lead time
- Mobilization and procurement / sourcing or materials. In particular provide information about supplier selection, transportation requirements and recognition of site-specific constraints to be overcome e.g. rocky ground).

    - Method statement for site safety protocol should include as minimum:

      - Protection of site, staff, and visitors

      - Health and safety on site

      - Signage

      - Traffic calming

      - Incident reporting

  - Drawings, Bill of Quantities and Specifications

    - Suppliers should familiarise themselves with all the documentation (drawings and bill of quantities (BOQ) for the works) provided to ensure their priced bid is in accordance with the designs, BOQ and specifications

# PART 3 – BIDDER RESPONSE DOCUMENT

- INTRODUCTION

This document MUST BE USED by Bidders wishing to submit a bid. It is linked into 5 sections detailed below:

- Section 1 – Essential Criteria

- Section 2 – Capability & Sustainability Questions

- Section 3 – Commercial Questions

- Section 4 – Bidder Submission Checklist

- Schedule 1 – Terms & Conditions of Bidding

The Bidder is required to sign a copy of the Check list in Section 5 as part of their submission.

- INSTRUCTIONS

Within each section there are instructions providing guidance to the bidder on what information is required. This guidance details the MINIMUM requirements expected by SCI. If a Bidder wishes to add further information, this is acceptable, but the additional information should be limited to only items that are relevant to the tender.

- For the avoidance of doubt, bidders are required to complete all items within the Bidder Response Document unless clear instruction is provided otherwise.

- If a Bidder does not complete the entire Bidder Response document, their submission may be declared void.

- If a Bidder is unable to complete any element of the Bidder Response Document, they should contact Save the Children through the using the contact details provided for guidance.

By submitting a response, the bidder confirms that all information provided can be relied upon for validity and accuracy.

## SECTION 1 - ESSENTIAL CRITERIA

INSTRUCTIONS – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |
| --- | --- | --- | --- |
| 1 | Supplier accepts Save the Children’s ‘Terms and Conditions of Purchase’ included within Appendix 1 of the Open Tender, and that any work awarded from this tender process will be completed under the attached ‘Terms and Conditions of Purchase’ Note: The bidder should confirm in a letter or in bidder response column “Yes/No”. | Yes / No | Comments / Attachments |
| 2 | The Supplier and its staff (and any sub-contractors used) agree to comply with SCI and the IAPG’s policies and code of conducts listed below. 1) Child Safeguarding Policy 2) Anti-Bribery & Corruption Policy 3) Human Trafficking & Modern Slavery Policy 4) Protection from Sexual Exploitation and Abuse Policy 5) Anti-Harassment, Intimidation & Bullying Policy 6) IAPG Code of Conduct 7) Conditions of Tendering 8) Sustainability Policies Note: The bidder should confirm in a letter or in bidder response column “Yes/No”. | Yes / No | Comments |
| 3 | The Supplier confirms it is not linked directly or indirectly to any terrorism related activity and does not sell any Dual-Purpose goods/services that may be used in a terrorism related activity. Note: The bidder should confirm in a letter or in bidder response column “Yes/No”. | Yes / No | Comments |
| 4 | The bidder confirm they are not a prohibited party under applicable sanction laws or anti-terrorism laws or provide Services under sanction by the United States of America or the European Union and accepts that SCI will undertake independent checks to validates this. Note: The bidder should confirm in a letter or in bidder response column “Yes/No”. | Yes / No | Comments |
| 5 | registered to trade with Save the Children (including compliance with all relevant Afghanistan Country legislation). This includes the Supplier submitting the following requirements (where applicable): - Updated Business registration certificate from Construction Company. - TIN (Tax Identification Number). - Bank account details by the name of the company. | Yes / No | Comments |
|  |  | Requirement | Bidder Response / Attachments |
|  |  | Business Registration Certificate |  |
|  |  | Tax Registration Number |  |
|  |  | Bank Account Copy |  |

## SECTION 2 – CAPABILITY QUESTIONS

Instructions – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |  |
| --- | --- | --- | --- | --- |
| 1 | Experience (0-10 MARKS) Ensure 2 similar/relevant Construction and rehabilitation contracts with their Scope of work which shows working with UN, NGO/INGOs/ Government authorities for the last five years (from 2020 until now). The total value of each contract/PO should be 60,000 USD or above. Please provide the contact details for all two provided contracts. Each valid contract/PO will get 5 marks. | Client Name | Contact Details (Name & Email) | Project Description |
|  |  | 1) |  |  |
|  |  | 2) |  |  |
| 2 | WORK PLAN (0-10 MARKS) The bidder must submit a detailed and realistic work plan outlining the overall project duration, key activities, sequencing, and milestones for the 6 constructions and rehabilitations areas (Villages). The plan should demonstrate a clear understanding of the project requirements, and timelines. - 10 Marks: Work plan is comprehensive, feasible, and fully aligns with project timelines and deliverables. It clearly presents activity sequencing, and completion schedules for each site. - 5 Marks: Work plan is partially acceptable — it includes the main activities and timeline but lacks present activity sequencing, and completion schedules. 0 Marks: Work plan is missing, incomplete, unrealistic, or does not adequately address the required project duration and key implementation steps. | Bidder Response |  | Attachment(s) |
| 3 | Validation of Quotation (0-5 MARKS) - 5 Points will get bids/quotation with a 6-month validity period. - 0 Point will get bids/quotations with less than 6-month validity period. Note: If the company did not confirm in the bidder response column or in letter it will get zero marks. | Bidder Response |  | Attachment(s) |
| 4 | Site Visit (0-10 MARKS) The bidder must conduct a site visit prior to submitting the tender and provide verifiable proof of such visit. Furthermore, the bidder is required to comprehensively consider all announced activities across the 6 villages ( Chobash Kalan, Jalal Abad, Nokor Abad, Char Shanba, Yangi Arigh and Shobai), including access routes to the site, availability and transportation of construction materials, and other technical aspects, which will be considered as key factors for the successful implementation of the project. Acceptable proof includes: - Photographs showing the bidder’s presence at the site, including date/time, with each school clearly visible and identifiable in the evidence/photos. - Any other verifiable documentation confirming presence at the site. 10 Marks: Complete and verifiable proof of site visit provided. 0 Marks: No proof provided, or submitted proof cannot be verified. | Bidder Response |  | Comments |
| 5 | Company Financial Capacity (5 MARKS): Company Financial Capacity (Original bank statement, stamped by the relevant bank) (50,000 USD or equal with AFN for maximum Score) bank statement. | Bidder Response |  | Comments |
| 6 | SUSTAINABILITY (10 MARKS) 1. Bidder Location Bidders who are locally based will receive a competitive advantage, this scoring benefit is intended to encourage local participation, support the growth of local businesses and strengthen the local economy. To qualify for these additional points, bidder must have verified local address. (5 Marks) 2. Employ labourers / staff The bidder commits in the letterhead of company or bidder response column to hire the employ labourers / staff from the local community. (5 Marks) Note: Zero points for not meeting the criteria’s (1,2) above. If each point that meets the criteria will be awarded 5 marks. | Bidder Response |  | Attachment(s) |

## SECTION 3 – COMMERCIAL QUESTIONS

Table 1 – Construction/ Rehabilitation of 8 Waterpoints at Jawzjan Province, 40 marks allocated to commercial.

| No. | SPECIFICATION of Goods / Services | Unit | Quantity | Unit Price AFN Currency | Total Price AFN Currency |
| --- | --- | --- | --- | --- | --- |
| 1 | Construction of 10000liter RCC water reservoir with filter system at Chobash Kalan village of Jawzjan province per instruction of SCI site engineer and attached BoQ. | Each | 1 |  |  |
| 2 | Construction of 10000liter RCC water reservoir with filter system at Jalal abad village of Jawzjan province per instruction of SCI site engineer and attached BoQ. | Each | 1 |  |  |
| 3 | Construction of 10000liter RCC water reservoir with filter system at Charshanba village of Jawzjan province per instruction of SCI site engineer and attached BoQ. | Each | 1 |  |  |
| 4 | Construction of 10000liter RCC water reservoir with filter system at Nokorabad village of Jawzjan province per instruction of SCI site engineer and attached BoQ. | Each | 1 |  |  |
| 5 | Rehabilitation of solar operated borehole with 10000-liter capacity of elevated water tank through water network Pipe schemes per attached BoQ and instruction of SCI site Engineer. | Each | 1 |  |  |
| 6 | Rehabilitation of solar operated borehole with 10000 Liter RCC reservoir including installation of water filter per instruction of SCI site engineer, BoQ is attached. | Each | 1 |  |  |
| 7 | Rehabilitation of existing water pond at Chobash Village (Next to Mosque) with all required activities per attached BoQ and instruction of SCI site engineer. | Each | 1 |  |  |
| 8 | Rehabilitation of existing water pond at Chobash Village (Next to Mokhi House) with all required activities per attached BoQ and instruction of SCI site engineer. | Each | 1 |  |  |
| Total Value in AFN= |  |  |  |  |  |

BoQs and drawing of above Specification of Goods / Services:

## SECTION 4 – BIDDER SUBMISSION CHECKLIST

| We, the Bidder, hereby confirm we have completed all sections of the Bidder Response Document: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Section |  |  | Please Tick |  |  |
| 1. | Section 1 – Essential Criteria |  |  |  |  |  |
| 2. | Section 2 – Capability and Sustainability Questions |  |  |  |  |  |
| 3. | Section 3 – Commercial Questions |  |  |  |  |  |
| We, the Bidder, confirm we have uploaded all of the required information and supporting evidence: |  |  |  |  |  |  |
| Section |  | Required Document / Evidence |  |  |  | Please Tick |
| Essential Criteria Evidence |  | Proof of Update Business Registration Certificate |  |  |  |  |
|  |  | Tax Registration Number |  |  |  |  |
|  |  | Copy of Bank Account by the name of Company |  |  |  |  |
| Capability Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
|  |  | Supporting Financial Documents |  |  |  |  |
|  |  | Work Plan Proposal |  |  |  |  |
|  |  | Site visit photographs |  |  |  |  |
| Commercial Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
| We, the Bidder, hereby confirm we compliance with the following policies and requirements: |  |  |  |  |  |  |
| Policy |  |  | Policy / Document |  | Signature |  |
| Terms & Conditions of Bidding |  |  |  |  |  |  |
| Terms & Conditions of Purchase |  |  |  |  |  |  |
| Supplier Sustainability Policy and the included mandatory policies |  |  | Click Here to Access |  |  |  |

| We confirm that Save the Children may in its consideration of our offer, and subsequently, rely on the statements made herein. |  |
| --- | --- |
| Signature: | ………………………………………………….. |
| Name: | ………………………………………………….. |
| Title: | ………………………………………………….. |
| Company: | ………………………………………………….. |
| Date: | ………………………………………………….. |